PRODUCT INFORMATION SHEET

Product Number:			AD0059H

Compound:			Anti-6xHistidine conjugated to SureLight-Allophycocyanin

Amount:				1 mg total protein

Lot Number:			APC1061

Storage:	4C in the dark. After product has been reconstituted, DO NOT FREEZE.

Handling:	Before use, reconstitute to 1.0 ml with distilled deionized water and allow vial to sit on ice for 20-30 minutes. Gently mix by vortexing or tapping tube before use.

Buffer:	Supplied lyophilized. Upon reconstitution with 1.0 mL distilled deionized water, the product is in 10 mM Tris (pH 8.2), 150 mM sodium chloride, 50 mM sucrose, 0.1% BSA and 1 g/mL pentachlorophenol.

Stability:	Upon reconstitution with water, product should be stored at 4C and be used within 3 months.

Date of Manufacturing:	April 20, 2021

Shelf Life:	5 years from test date

Test Date:	4/27/2021

Intended use:  The Anti-6x Histidine:SureLight-Allophycocyanin conjugate can be used as an acceptor for the energy emitted by Eu3+-chelates in the LANCE homogeneous assay format.  Product is for research purposes only; the product is not intended for any other use (such as cosmetic, agricultural, drug, food or household uses).

Lot specific information:

(after reconstitution)

Concentration: 1.1 mg/ml total protein

SureLight-APC molarity = 2.96 M

Anti-6HIS molarity = 5.78 M

SureLight is a registered trademark of Columbia Biosciences Corp. LANCE is a trademark of Revvity Health Sciences, Inc.